## Assays
[7 empty] | Meets technical controls | [7 empty] | FOR PG AND JH FOR CURATION
[8 empty] | Number of control variants |  | OddsPath | Criteria | Thresholds | Recommendation | Reason to not use | Reason to not use
Assays | Product measured | Vector | Cell line | Detection method | Haplotype | References using this method |  | LP/P | LB/B | Pathogenic | PS3 level | Pathogenic |  | Pathogenic | Pathogenic
Protein Stability | CYP1B1 protein level after inhibition with 10ug/ml cycloheximide | pcDNA3.1-myc-His* | HEK-293T | Western blot (8h) with anti-myc antibody | RAVN | Banerjee 2016, PMID:27243976 Campos-Mollo 2009, PMID:19234632 Medina-Trillo 2016, PMID:27060699 Lopez-Garrido 2010, PMID:19793111 | Yes | 16 | 3 | 3 | PS3_supp | N.D. | Not suitable | Unable to determine appropriate thresholds | unable to determine threshold
| CYP1B1 protein level after incubation at 4degC | pCWori | E. coli DH5a | Spectrophotometry | ? | Choudhary 2008, PMID:18622259 Jansson 2001, PMID:11740343 | No replicates | 2 | 2 | 2 | none | N/A | Not suitable | Insufficient OddsPath | not met OddsPath
| Protein level in supernatant aliquots over time | pCWori | E.Coli JM109 | Bradford assay | ? | Faiq 2024, PMID 39721180 | Yes | 0 | 0 | - | none | N/A | Not suitable | Insufficient OddsPath | not met OddsPath
Protein Abundance | CYP1B1 protein level | pcDNA3.1-myc-His | HEK-293T | Western blot with anti-myc antibody | RAVN | Campos-Mollo 2009, PMID:19234632 Medina-Trillo 2016, PMID:27060699 Lopez-Garrido 2010, PMID:19793111 | Yes No replicates Yes | 11 | 3 | 3 | PS3_supp | N.D. | Not suitable | Unable to determine appropriate thresholds | unable to determine threshold
[5 empty] | GSLN | Lopez-Garrido 2013 PMID:23218183 | Yes | 1 | 0 | 0 | none | N/A | Not suitable | Insufficient OddsPath | not met OddsPath
|  | pCWori | E. coli DH5a | Western blot with chicken anti-CYP1B1 IgG | ? | Choudhary 2008, PMID:18622259 Jansson 2001, PMID:11740343 | No replicates | 2 | 2 | 2 | none | N/A | Not suitable | Insufficient OddsPath | not met OddsPath
17B Estradiol Activity | Luciferin derivative (CYP450-GLO kit) | ? | HEK-293T | luminescence 40h post transfection | RAVN | Banerjee 2016, PMID:27243976 | Yes | 7 | 2 | 2 | none | N/A | Not suitable | Insufficient OddsPath | not met OddsPath
|  | pcDNA3.1-HA | HEK-293T | luminescence 48h post transfection | ? | Bagiyeva 2007 PMID:17893647 | Yes | 1 | 0 | 0 | none | N/A | Not suitable | Insufficient OddsPath | not met OddsPath
|  | pcDNA3 | RPE8319 | luminescence 40h post transfection | ? | Mookherjee 2012, PMID:23028769 | No negative control | 1 | 1 | 1 | none | N/A | Not suitable | Insufficient OddsPath | not met OddsPath
|  | pYeDP60 | INVSc1-HR (yeast) | luminescence | observed background | Chavarria-Soley 2008, PMID:18470941 Pasutto 2010, PMID:19643970 | Yes | 2 | 3 | 3 | PS3_supp | <20% relative activity compared to background haplotype | Use at PS3_supp | N/A | N/A
| 4-OH-E2 & 2-OH-E2 | pYeDP60 | INVSc1-HR (yeast) | HPLC | RALN | Aklillu 2002, PMID:11854439 | Yes | 0 | 2 | - | none | N/A | Not suitable | Insufficient OddsPath | not met OddsPath
| 4-OH-E2 & 2-OH-E2 | pCWori | E. coli DH5a | GC/MS | ? | Choudhary 2008, PMID:18622259 Jansson 2001, PMID:11740343 | No negative control | 2 | 2 | 2 | none | N/A | Not suitable | Insufficient OddsPath | not met OddsPath
| 4-OH-E2 & 2-OH-E2 | ? | E. coli DH5a | GC/MS | RAVN | Hanna 2000, PMID:11854439 | No negative control | 0 | 4 | - | none | N/A | Not suitable | Insufficient OddsPath | not met OddsPath
|  | pCWori | E.Coli JM109 | HPLC | ? | Faiq 2024, PMID 39721180 | No negative control | 0 | 0 | - | none | N/A | Not suitable | Insufficient OddsPath | not met OddsPath
EROD Activity | Resorufin | pcDNA3.1-myc-His | HEK-293T | Fluorometric assay 13-15h post transfection, 2h after substrate added | RAVN | Campos-Mollo 2009, PMID:19234632 Medina-Trillo 2016, PMID:27060699 Lopez-Garrido 2010, PMID:19793111 | Yes | 11 | 3 | 3 | PS3_supp | N.D. | Not suitable | Unable to determine appropriate thresholds | unable to determine threshold
[5 empty] | GLSN | Lopez-Garrido 2013 PMID:23218183 | Yes | 1 | 0 | 0 | none | N/A | Not suitable | Insufficient OddsPath | not met OddsPath
|  | pDHFR | COS-1 | Fluorometric assay 48h post transfection, 0, 5 and 10min after substrate added | observed background | Jeannot 2007, PMID:17363580 | Yes | 1 | 2 | 2 | none | N/A | Not suitable | Insufficient OddsPath | not met OddsPath
Retinol Activity | retinoic acid via binding to retinoic acid response element (RARE) | ? | HEK-293T | luminescence at 36h | RAVN | Banerjee 2016, PMID:27243976 | Yes | 7 | 2 | 2 | none | N/A | Not suitable | Insufficient OddsPath | not met OddsPath
Retinoid Activity | Retinol and retinoic acid | pCWori | E. coli DH5a | GC/MS | ? | Choudhary 2008, PMID:18622259 | No negative control | 0 | 2 | - | none | N/A | Not suitable | Insufficient OddsPath | not met OddsPath
|  |  | E.Coli JM109 | HPLC | ? | Faiq 2024, PMID 39721180 | No negative control | 0 | 0 | - | none | N/A | Not suitable | Insufficient OddsPath | not met OddsPath
Arachadonic acid metabolism | EET & HETE | pCWori | E. coli DH5a | GC/MS | ? | Choudhary 2008, PMID:18622259 | No negative control | 0 | 2 | - | none | N/A | Not suitable | Insufficient OddsPath | not met OddsPath
|  |  | E.Coli JM109 | HPLC | ? | Faiq 2024, PMID 39721180 | No negative control | 0 | 0 | - | none | N/A | Not suitable | Insufficient OddsPath | not met OddsPath
Benzo[a]pyrene Activity | oxidation products of B[a]P-7,8-diol | pYes2 | S.cerevisiae JL20 | HPLC | observed background | Mammen 2003, PMID:12807732 | Yes | 6 | 4 | 4 | PS3_supp | <20% activity compared to background haplotype | Use at PS3_supp | N/A | N/A
N/A = not applicable
- = unable to be calculated due to zero controls in a category
N.D = threshold not able to be determined due to overlap between pathogenic and benign control variants