## Enzyme asay E coli
PMID | PMID: 10037750 | PMID: 11592823 | PMID: 22461411 | PMID: 30172461 | 3678883 | 27005423
DOI / link | 10.1074/jbc.274.10.6559 | 10.1006/mgme.2001.3230 | 10.1002/humu.22093 | 10.1016/j.ymgme.2018.08.012 | 10.7759/cureus.33592 | 10.1093/hmg/ddw091
Author | Kent Lai et al | Kent Lai and Louis Elsas | Tang et al | Yuzyuk et al | Mitchell and Johnson | McCorvie et al
Year | 1999 | 2001 | 2012 | 2018 | 2023
Assay (general description) | Recombinant hGALT proteins were exressed in a GALT (-) Escherichia coli. Bacterial lysates or purified GALT proteins were incubated in buffer containing UDP-glucose, NADP, galactose 1-phosphate (gal-1-P) and other reagents. The quantitative relationship between increase in NADPH production and glucose 1-phosphate released was determined. | Recombinant hGALT proteins were exressed in a GALT (-) Escherichia coli. Bacterial lysates or purified GALT proteins were incubated in buffer containing UDP-glucose, NADP, galactose 1-phosphate (gal-1-P) and other reagents. The quantitative relationship between increase in NADPH production and glucose 1-phosphate released was determined. | Recombinant hGALT proteins were exressed in a GALT (-) Escherichia coli. Purified GALT proteins were incubated in buffer containing UDP-glucose, NADP, galactose 1-phosphate (gal-1-P) and other reagents. The quantitative relationship between increase in NADPH production and glucose 1-phosphate released was determined. | Recombinant hGALT proteins were exressed in a GALT (-) Escherichia coli. Purified GALT proteins were incubated in buffer containing UDP-glucose, NADP, galactose 1-phosphate (gal-1-P) and other reagents. The quantitative relationship between increase in NADPH production and glucose 1-phosphate released was determined. | GALT expression in Escherichia coli cells, followed by induction and purification, checked by SDS-PAGE, In vitro enzymatic assay by a double displacement assay where formation of NADPH was quantified | humanGALT is expressed in E. coli and purified. In vitro de-uridylylation and uridylylation assay, proteolysis and aggregation assays were performed
Material used (patient cells, engineered variants, cell lines, animal model, etc. | E.coli GALT (-) | E.coli GALT (-) | E.coli GALT (-) | E.coli GALT (-) | HMS174 (DE3) Competent Escherichia coli cells- vectors not indicated | DNA fragment encoding full-length hGALT was amplified from a cDNA clone that harbours the p.Asn314Asp polymorphism in pNIC28-Bsa4 vector
Readout type (qualitative/quantitative) | Quantitative: The formation of NADPH was quantified by absorbance change at 340 nm. Glu-1-P released was calculated. | Quantitative: The formation of NADPH was quantified by absorbance change at 340 nm. Glu-1-P released was calculated. | Quantitative: The formation of NADPH was quantified by absorbance change at 340 nm. Glu-1-P released was calculated. | Quantitative: The formation of NADPH was quantified by absorbance change at 340 nm. | Quantitative- enzyme activity was judged by the Vmax for each variant, which was compared to the Vmax of the native GALT protein | Quantitative- Protein stability judged by rate of proteolysis in the presence of excess zinc. Propensity to aggregate was measured over time at an absorbance of 350 nm as an indicator of turbidity.
Readout description | hGALT protein activity (nmol glu-1-P released/min/mg protein) | hGALT protein activity (nmol glu-1-P released/min/mg protein) | hGALT protein activity (nmol glu-1-P released/min/mg protein) | hGALT protein activity (nmol glu-1-P released/min/mg protein) | Data given as "% Native Vmax"
Biological replicates (met/not met) | Duplicate | Yes, not clear if biological or technical | Triplicate, not clear if biological or technical | Triplicate, not clear if biological or technical | not mentioned | met, data from at least three independent experiments
Technical replicates (met/not met); description | Not mentioned | Yes, not clear if biological or technical | Triplicate, not clear if biological or technical | Triplicate, not clear if biological or technical | not mentioned | not mentioned
Basic positive control (met/not met); description | met: Q188R hGALT | met: Q188R hGALT | Not mentioned | Q188R hGALT | met (native/wild type GALT expressed) | met, Apo-human GALT enzyme (wild type) used as control
Basic negative control (met/not met); description | met: WT hGALT | met: WT hGALT | met: WT hGALT | met: WT hGALT | met (Q188R) | not mentioned
Validation controls P/LP (#) | Not mentioned | Not mentioned | Not mentioned | Not mentioned
Validation controls B/LB (#) | Not mentioned | Not mentioned | Not mentioned | Not mentioned
Statistical analysis (general description) | Not used | Not used | Not used | Not used | one-way ANOVA | means and standard deviations from 3 independent experiments; p values were determined using two-tailed unpaired t test.
Threshold for normal readout | Similar to WT hGALT protein | Similar to WT hGALT protein | Similar to WT hGALT protein | Similar to WT hGALT protein | not specified
Threshold for abnormal readout | Significantly reduced | Significantly reduced | Significantly reduced | Significantly reduced | not specified
Test Variant | WT (100%), Q188R (0.75%), Q188N (3.7%) | WT (100%), S135A (4.7%), S135C (3.0%), S135H (4.0%), S135L (2.7%), H132S-S135H (0.7%), S135T (35.4%), S135Y (1.4%) | V168L, I170T, R259Q, H132Q, P185H, Y34N, L227P and L327P no enzyme activity R223S (~36%), I278N (~6%), L289F (~38%), E291V (~50%), R201C (~50%), E220K (~30%) | S135L (8.6%), Q188R (0%), E202K (0%), P295T (10%), A320V (8.9%), H321Y (3.9%), Y323C (1.7%) | A81T (52%), H47D (26%), E58K (3.4%), Q188R (0%) | mostly performed on Q188R and some information on H186A
Approved assay (y/n) | yes | yes | yes | yes | yes | yes
Proposed strength | supportive | supportive | supportive | supportive | supportive | supportive

## Yeast assay
PMID | 18210213 | 11152465 | 23690308 | 8421669
DOI / link | 10.1007/s10545-007-0786-5 | 10.1074/jbc.M009583200 | 10.1210/jc.2013-1374 | 10.1073/pnas.90.2.398
Author | Chhay et al | Riehman et al | Spencer et al | Fridovich-Keil and Jinks-Robertson
Year | 2008 | 2001 | 2013 | 1993
Assay (general description) | human GALT expressed in a null background yeast strain -- GALT function in soluble cell lysates tested by in vitro activity assays | human GALT expressed in a null background yeast strain -- GALT function in soluble cell lysates tested by in vitro activity assays | human GALT expressed in a null background yeast strain -- GALT function in soluble cell lysates tested by in vitro activity assays | 1st paper explaining the yeast system, tests Q188R as an example
Material used (patient cells, engineered variants, cell lines, animal model, etc. | yeast model expressing human GALT | yeast model expressing human GALT | yeast model expressing human GALT | yeast model expressing human GALT
Readout type (qualitative/quantitative) | quantitative (GALT activity assay) -- also western blots | quantitative (GALT activity assay) -- also western blots | quantitative (GALT activity assay) | quantitative (GALT activity assay) -- also western blots
Readout description | GALT enzyme activity reported as nmol glc-1P/ug prot/min | GALT activity reported as % of WT level (compared to yeast expressing WT human GALT from the same plasmid type -- high copy number for low activity variants and low copy for variants with at least 10%) | GALT activity reported as % of WT level | GALT enzyme activity reported as pmol product/ug prot/min
Biological replicates (met/not met) | at least 3 biological replicates per comparison group | at least 3 biological replicates per comparison group | at least 3 biological replicates per comparison group | mean and SD of 3 biological replicates
Technical replicates (met/not met); description | all replicates were biological | all replicates were biological | all replicates were biological | all replicates biological
Basic positive control (met/not met); description | met (yeast expressing WT GALT) | met (yeast expressing WT GALT) | met (yeast expressing WT GALT) | met (yeast expressing WT GALT)
Basic negative control (met/not met); description | met (yeast carrying empty plasmid) | met (yeast carrying null alleles including Q188R) | met (yeast carrying null alleles including Q188R) | met (yeast carrying empty plasmid)
Validation controls P/LP (#) | ??
Validation controls B/LB (#) | ??
Statistical analysis (general description) | no direct stastical tests but averages and SEM plotted | no direct stastical tests but averages and SD reported | no direct stastical tests but averages and SD reported | no direct stastical tests but averages and SD reported
Threshold for normal readout | similar to yeast with WT GALT on same plasmid backbone | similar to yeast with WT GALT on same plasmid backbone | similar to yeast with WT GALT on same plasmid backbone | similar to yeast with WT GALT on same plasmid backbone
Threshold for abnormal readout | similar to yeast with empty plasmid (no GALT) | previous studies demonstrated null background (Fridovich-Keil and Jinks-Robertson 1993) | previous studies demonstrated null background (Fridovich-Keil and Jinks-Robertson 1993) | similar to yeast with empty plasmid (no GALT)
Test Variant | T204X (no GALT protein seen and not GALT activity detected); T268N (essentially WT GALT protein and activity seen); K285N (no GALT protein or activity seen) | N314D (102%); E291K (62.8%); R201H (62.8%); P183T (45.2%); T350A (9.9%); Y323D (9.6%); V151A (4.6%); S135L (2.7%); R67C (2.3%); L139P (1.9%); F171S, Q188R, R231H, R259W, K285N, R333W (all 0.2%) | Y34N (23.75%); A78T (31.83%); D98N (19.13%); D113N (74.02%); S135L (0.71%); D136H (5.99%); T138M (6.9%); M142K (-0.043%); R148P (0.041%); R148Q (-0.005%); R148W (0.36%); V157I (88.16%); Q188R (0.025%); L195P (0.85%); D197G (33.18%); R201H (101%); R204X (-0.043%); Q206R (-0.017%); Y209C (13.63%); R231H (0.45%); R259W (0.78%); R272H (0.044%); K285N (0.58%); W300X (0.016%); A320T (0.94%); R333W (0.15%); Q344K (5.46%); E363F (70.23%) | Q188R (0.03 SD 0.03)
Approved assay (y/n) | yes | yes | yes | yes
Proposed strength | supportive | supportive | supportive | supportive

## Mammalian
PMID | 31392114 | 20547145
DOI / link | 10.1002/jmd2.12037 | 10.1016/j.cca.2010.06.008
Author | Canson et al | Ko et al
Year | 2019 | 2010
Assay (general description) | GALT expression by HeLa-based cell-free protein expression system (cell‐free mammalian‐coupled transcription/translation system)-- Enzyme activity tested in vitro | Overexpression in a mammalian system- enzyme activity and Western blot
Material used (patient cells, engineered variants, cell lines, animal model, etc. | HeLa expressing human GALT (variants introduced by PCR‐based site‐directed mutagenesis into wild-type GALT cDNA) | 293 cells were transfected with these mutants using the Lipofectamin 2000 system. Initial construct made using human blood RNA and variants introduced by QuikChange Site-directed Mutagenesis kit
Readout type (qualitative/quantitative) | quantitative (GALT activity assay; done by measuring NADPH formation with spectrophotometry) using purified wild‐type and variant GALT proteins-- as an additional readout, native PAGE was done to check dimerization ability | Quantitative- enzyme activity was measured by UPLC-tandem mass spectrometry; also provided relative abundance by Western blot comparing sample expression wild-type GALT
Readout description | GALT enzyme activity reported as nmol glc-1P/min/mg | Measured as μmol/h/g Hb but given as % of control
Biological replicates (met/not met) | met, activity values were generated from three separate experiments | not mentioned
Technical replicates (met/not met); description | not mentioned | not mentioned
Basic positive control (met/not met); description | met (WT GALT expressed) | met, wild-type GALT expression vector used
Basic negative control (met/not met); description | met (translation reagents without IVT template and they used the crude lysate to serve as blank) | not mentioned
Validation controls P/LP (#) | ??
Validation controls B/LB (#) | ??
Statistical analysis (general description) | no direct stastical tests but means and SD values were plotted | not mentioned
Threshold for normal readout | not specified | not mentioned
Threshold for abnormal readout | not specified | not mentioned
Test Variant | L116P (0%) and M178R (4.5%) | p.H31R (2.3%), p.L116I (91.1%), p.Q169H (0.8%), p.H186P (0.5%), p.R201H (74.%), p.R333R (134%)
Approved assay (y/n) | yes | yes
Proposed strength | supportive | supportive

## All variants (final)
Variant | Activity (%WT) | Yeast | E.coli | Mammalian | Group | Code | Group I: Undetectable | Group II: <1%, detectable | Group III: 1-5% | Group IV: >5-10% | Group V: >10-20% | Group VI: >20-50% | Group VII: >50%
M142K | -0.043 | yeast |  |  | I | PS3 supporting | 20 | 9 | 12 | 7 | 3 | 9 | 12
R204X | -0.043 | yeast |  |  | I | PS3 supporting
Q206R | -0.017 | yeast |  |  | I | PS3 supporting
R148Q | -0.005 | yeast |  |  | I | PS3 supporting
E202K | 0 |  | E.coli |  | I | PS3 supporting
F171S | 0 | yeast |  |  | I | PS3 supporting
H132Q | 0 |  | E.coli |  | I | PS3 supporting
I170T | 0 |  | E.coli |  | I | PS3 supporting
L116P | 0 |  |  | Mammalian | I | PS3 supporting
L227P | 0 |  | E.coli |  | I | PS3 supporting
L327P | 0 |  | E.coli |  | I | PS3 supporting
P185H | 0 |  | E.coli |  | I | PS3 supporting
Q188R | 0 | yeast | E.coli |  | I | PS3 supporting
R148P | 0 | yeast |  |  | I | PS3 supporting
R259Q | 0 |  | E.coli |  | I | PS3 supporting
R272H | 0 | yeast |  |  | I | PS3 supporting
T204X | 0 | yeast |  |  | I | PS3 supporting
V168L | 0 |  | E.coli |  | I | PS3 supporting
W300X | 0 | yeast |  |  | I | PS3 supporting
R333W | 0.15 | yeast |  |  | II | PS3 supporting
R148W | 0.36 | yeast |  |  | II | PS3 supporting
R231H | 0.45 | yeast |  |  | II | PS3 supporting
H186P | 0.5 |  |  | Mammalian | II | PS3 supporting
K285N | 0.58 | yeast |  |  | II | PS3 supporting
R259W | 0.78 | yeast |  |  | II | PS3 supporting
Q169H | 0.8 |  |  | Mammalian | II | PS3 supporting
L195P | 0.85 | yeast |  |  | II | PS3 supporting
A320T | 0.94 | yeast |  |  | II | PS3 supporting
S135Y | 1.4 |  | E.coli |  | III | PS3 supporting
Y323C | 1.7 |  | E.coli |  | III | PS3 supporting
L139P | 1.9 | yeast |  |  | III | PS3 supporting
H31R | 2.3 |  |  | Mammalian | III | PS3 supporting
R67C | 2.3 | yeast |  |  | III | PS3 supporting
S135C | 3 |  | E.coli |  | III | PS3 supporting
E58K | 3.4 |  | E.coli |  | III | PS3 supporting
S135L | 3.7 | yeast | E.coli |  | III | PS3 supporting
H321Y | 3.9 |  | E.coli |  | III | PS3 supporting
S135H | 4 |  | E.coli |  | III | PS3 supporting
M178R | 4.5 |  |  | Mammalian | III | PS3 supporting
S135A | 4.7 |  | E.coli |  | III | PS3 supporting
Q344K | 5.46 | yeast |  |  | IV | PS3 supporting
D136H | 5.99 | yeast |  |  | IV | PS3 supporting
I278N | 6 |  | E.coli |  | IV | PS3 supporting
V151A | 6.8 | yeast |  |  | IV | PS3 supporting
T138M | 6.9 | yeast |  | confirmed in source data | IV | PS3 supporting
A320V | 8.9 |  | E.coli |  | IV | PS3 supporting
Y323D | 9.6 | yeast |  |  | IV | PS3 supporting
P295T | 10 |  | E.coli |  | V | PS3 supporting
Y209C | 13.63 | yeast |  |  | V | PS3 supporting
D98N | 19.13 | yeast |  |  | V | PS3 supporting
H47D | 26 |  | E.coli |  | VI
E220K | 30 |  | E.coli |  | VI
A78T | 31.83 | yeast |  |  | VI
D197G | 33.18 | yeast |  |  | VI
S135T | 35.4 |  | E.coli |  | VI
R223S | 36 |  | E.coli |  | VI
L289F | 38 |  | E.coli |  | VI
P183T | 45.2 | yeast |  |  | VI
E291V | 50 |  | E.coli |  | VII | BS3 supporting
R201C | 50 |  | E.coli |  | VII | BS3 supporting
A81T | 52 |  | E.coli |  | VII | BS3 supporting
E291K | 62.8 | yeast |  |  | VII | BS3 supporting
T268N | 70 | yeast |  |  | VII | BS3 supporting
E363F | 70.23 | yeast |  |  | VII | BS3 supporting
D113N | 74.02 | yeast |  |  | VII | BS3 supporting
R201H | 79.3 | yeast |  |  | VII | BS3 supporting
V157I | 88.16 | yeast |  |  | VII | BS3 supporting
L116I | 91.1 |  |  | Mammalian | VII | BS3 supporting
N314D | 102 | yeast |  |  | VII | BS3 supporting
R333R | 134 |  |  | Mammalian | VII | BS3 supporting
T350A | 9.9 | yeast |  |  |  | PS3 supporting
T350A | 39.97 | yeast
Y34N | 23.75 | yeast
Y34N | 0 |  | E.coli |  |  | PS3 supporting