## Example
PMID | 1234567
DOI / link | doi:abcd/123
Author | Jones
Year | 1985
Assay (general description) | In vitro expression of cDNA constructs in cell line, survival assay to assess functional capacity of variants
Material used (patient cells, engineered variants, cell lines, animal model, etc. | HeLa cells; engineered knock-out of XYZ gene; variants introduced by site-directed mutagenesis
Readout type (qualitative/quantitative) | Quantitative
Readout description | 7 day time course measuring number of cells per plate
Biological replicates (met/not met) | not met
Technical replicates (met/not met); description | met; triplicate
Basic positive control (met/not met); description | met; WT cDNA
Basic negative control (met/not met); description | met; empty cDNA
Validation controls P/LP (#) | 2
Validation controls B/LB (#) | 2
Statistical analysis (general description) | ANOVA
Threshold for normal readout | Day 7; >10,000 cells
Threshold for abnormal readout | Day 7; <1,000 cells
Approved assay (y/n) | y
Proposed strength | PS3_Supporting; BS3 not applied

## ELISA
PMID | 32766856
DOI / link | 10.1182/bloodadvances.2020002520
Author | Gao
Year | 2020
Assay (general description) | Cell-based reporter assay that measures secreted conformation-specific reporter levels and secreted total reporter levels, which corresponds to the FIX protein levels in patients. Protein levels evaluated by ELISA.
Material used (patient cells, engineered variants, cell lines, animal model, etc. | HEK293T cells
Readout type (qualitative/quantitative) | quantitative (0-100%)
Readout description | FIX-PC quantified by ELISA
Biological replicates (met/not met) | met; triplicates
Technical replicates (met/not met); description | not met
Basic positive control (met/not met); description | met; WT
Basic negative control (met/not met); description | not met
Validation controls P/LP (#) | 28 variants - to evaluate pathogenicity
Validation controls B/LB (#)
Statistical analysis (general description) | none
Threshold for normal readout | Similar to WT (results presented as % of WT)
Threshold for abnormal readout | Lesser than WT
Approved assay (y/n) | y
Proposed strength | Supporting