## Cell survival assay
PMID | 22281021 | 17465020
DOI / link | 10.1016/j.ymgme.2011.12.022 | 10.1002/humu.20532
Author | Betsalel | Rosenberg
Year | 2012 | 2007
Assay (general description) | Site directed mutagenesis, plasmids transfected into SLC6A8 deficient fibroblasts in triplicate. Creatnine uptake capacity tested by incubation with 25uM creatine, cells harvested and intracellular creatine measued by stable isotop dilution GC-MS. | site directed mutagenesis to introduce variants into pCR2.1-SLC6A8
Material used (patient cells, engineered variants, cell lines, animal model, etc. | Engineered variants, pEGFP-N1 vector, SLC6A8 deficient fibroblasts tranfected (in triplicate) with vector, wildtype, and empty vector | SLC6A8 deficient primary fibroblasts (hemizygous for p.Arg514X)
Readout type (qualitative/quantitative) | Quantitative (creatine uptake), Qualitative (Western blot) | Quantitative
Readout description | Intracellular creatine content measured by stable isotope dilution GC-MS | Creatine uptake measured by SID-GCMS
Biological replicates (met/not met) | met | met
Technical replicates (met/not met); description | met, triplicate | met
Basic positive control (met/not met); description | met, WT DNA transfected for each line | met
Basic negative control (met/not met); description | met; empty vector tranfected for each line | met
Validation controls P/LP (#) | 3 | 4
Validation controls B/LB (#) | 3 | 0
Statistical analysis (general description) | Results displated as percent creatine uptake compared to wildtype, standard error to triplicate transfection | Triplicate measurements of creatine uptake (pmol Cr/ug protein)
Threshold for normal readout
Threshold for abnormal readout | <10% wt activity | <10 pmol Cr/ug protein
Approved assay (y/n) | Y | y
Proposed strength | PS3_Supporting (<10% using ≤125uM creatine, or ≤25% using >125uM), BS3_Supporting ≥50% | PS3_Supporting (<10% using ≤125uM creatine, or ≤25% using >125uM), BS3_Supporting ≥50%